## Slide 1
Clustering district heating customers
Pasi Fränti
23.3.2026
V. Lavikainen and P. Fränti
Clustering district heating customers based on load profiles
Applied Computing and Intelligence, 2024.

## Slide 2
Principle of district heating

## Slide 3
Measurement data
Kuopio, Finland
136 = Good reading
Z02 = Uncertain reading
Z03 = Failed reading
Smart meters remotely send data
Measurements made once every hour
24 measures daily
Missing data left out
Five customers with uncertain data or failed reading also left out

## Slide 4
Potential use
What to look for:
Detecting heat load patterns
Analyzing factors affecting energy consumption
Forecasting future use
Identify abnormal consumption
How to utilize it:
Learn the use of different customer groups
Improve operation and management of the system
Introduce new control strategies
Personalize demand management for customer groups

## Slide 5
Customers by building type

## Slide 6
Steps of the cluster analysis

## Slide 7
Pre-processing
Daily measures:
 4 missing values: delete the entire day.
< 4 missing values: generate missing values by linear interpolation
Filter unrealistically large values out.
Missing outdoor temperature data is recovered by data from Finnish Meteorological Institute.

## Slide 8
Consumption profile
Service building
Apartment building

## Slide 9
Effect of the month

## Slide 10
Effect of temperature Two example customers

## Slide 11
Algorithm

## Slide 12
Distance of vectors:
Goodness of clustering
Calculate mean:
Squared Euclidean
Trivial in most vector spaces
Average distances
Requirements for k-means

## Slide 13
Squared Euclidean
Dynamic time warping
Time series: specific distance function

## Slide 14
K-shape algorithm
Customer profiles essentially fixed length time series
We use k-Shape algorithm (k-means tailored to time series)
Algorithm is repeated 1000 times (random initialization)
Stopping criterion:
  - Error decrease < 10-6
  - Maximum number of iterations reached (2000)
Paparrizos & Gravano
Fast and accurate time-series clustering
ACM Trans. Database Systems, 2017.
Tavenard et al.
Tslearn, a machine learning toolkit for time series data
Journal of Machine Learning Research, 2020.
K-shape
Software

## Slide 15
How many clusters?
No clear minimum (CI, SC, SSD) or maximum (DBI, GS)
DBI has several local maxima, but is the least reliable.
Number 4 decided by us researchers for ease of analysis
5 internal indexes:

## Slide 16
Results

## Slide 17
Average consumption profiles: weekdays

## Slide 18
Average consumption profiles: weekends

## Slide 19
Clusters 1 and 2

## Slide 20
Clusters 3 and 4

## Slide 21
Total energy consumption

## Slide 22
Conclusions
Created four average customer profiles
Can be used for predicting future heat use and intelligent heat control
Can alert abnormal consumption